## Sheet1
Cell 913-788-6326 Office (816) 779-5947 - austin@kansascityatticfans.com
Exhaust/Venting Calculator
Measured by Net Free Area (NFA) SQ Inches or SQ Feet. NFA is a ventilation industry term used to meausure how much true ventilation in square inches a certain device can allow. For example insect screens reduce your NFA. Most of the below specs were obtained from Home Depot. Consider checking for other options. The below should be considered estimates. There are may factors that could skew this estimate. This would include a different brand, model or size of ventilation device. If the hole through the wood was smaller than the device is sized for that also decreases your NFA. Enter Qtys of vents in the Blue sections and review totals at bottom.
Vent Types |  | Net Free Square Inches | Enter Qty in House | Total NFA SQ IN
| 18" Octagon/Circle Gable Vent | 26 | 0 | 0
| 22" Octagon/Circle Gable Vent | 54 |  | 0
| 27" Octagon/Circle Gable Vent | 81 |  | 0
| 32" Octagon/Circle Gable Vent | 110 |  | 0
| 12" x 18" Rectangle | 49 | 0 | 0
| 18" x 24" Rectangle | 141 |  | 0
| 70" x 17" Triange Gable Vent | 74 | 0 | 0
| Slant Back Vent | 60 | 0 | 0
| 9" x 9" Square Top Vent | 50 | 0 | 0
| 8" Round | 50 | 0 | 0
| Pop Vent 12" | 113 | 0 | 0
| Pop Vent 14" | 144 |  | 0
| 10" Turnbine/Whirlybird | 75 | 0 | 0
| 12" Turnbine/Whirlybird | 100 |  | 0
| 14" Turnbine/Whirlybird | 125 |  | 0
| Square Soffit Vent 16"x8" | 65 | 0 | 0
| Square Soffit Vent 16"x6" | 42 |  | 0
| Square Soffit Vent 16"x4" | 26 | 0 | 0
(Soffit Vents can be easily clogged with insulation. If so little or no NFA value)
| 4" Round Soffit Vent | 4 | 0 | 0
| Ridge Vent - Common Type (Lineal Feet) | 18 | 0 | 0
| Misc Other Ventilation Devices. Estimate both NFA SQIN for the device and qty in the house. | 0 | 1 | 0
|  | Total Square Inches |  | 0
|  | Total Square Feet |  | 0
| You have have this % of the recommended net free sq footage for a 30" Whole House Fan. (10 NFA recommended) | 0%
| You have have this % of the recommended net free sq footage for a 36" Whole House Fan (12 NFA recommended) | 0%
| You have have this % of the recommended net free sq footage for a 42" Whole House Fan (18 NFA recommended) | 0%
Significant shortages in NFA will decreases the air flow performance of your fan & may be noticed with noises & rattling of your shutter. This also may contribute to premature wear of motor and fan components.